## Instructions
Instructions
Make a copy of the Toolbox for your unique facility or year and enable macros.
This toolbox can be used to provide high-level results of current energy and water management.
This toolbox can be used to provide high-level results of a full decarbonisation process on the energy, water and carbon emissions consumed/produced for your facility.
The Inputs tab has small pieces of guidance where required to guide the calculation process.
For further clarification on how to use this toolbox please look at the manual.
For more in depth analysis contact an experienced aquatics specialist team such as the Beca Aquatics team.
Tab Summary
Inputs | Data is entered and visual representations of those inputs are shown immediately.
Current Predicted Sankey | Based on the information entered into Inputs an approximation for where your energy is going within your facility can be seen.
Decarb Comparison | Based on the information entered into Inputs the result of a full decarbonisation process is visually shown.

## Inputs
Inputs
| Facility and Areas | [7 empty] | Pools
| Facility Name |  |  |  |  | Name your facility |  |  |  | Pool Type | Pool Temp | Pool Area | In/Outdoor | Covers | Fill out the details about the pools in your facility that you can find
| Years |  |  |  |  | Pick the year of data |  |  | Pool 1
| Location |  |  |  |  | Where is your facility |  |  | Pool 2
| Site Area |  |  | m2 |  | This info is helpful but not required |  |  | Pool 3
| Enclosed Building Area |  |  | m2 |  |  |  |  | Pool 4
| Pool Surface Area |  |  | m2 |  |  |  |  | Pool 5
|  |  | JULY | AUG | SEPT | OCT | NOV | DEC | JAN | FEB | MAR | APR | MAY | JUN | Total
| Enter the monthly energy and water bills into the top row and monetary row of each category | ELECTRICITY
|  | kWh | [12 empty] | 0
|  | $ (excl GST) | [12 empty] | 0
GAS
| Measured in : | kWh | [12 empty] | 0
|  | kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| The 'Measured in' units you can change | $ (excl GST) | [12 empty] | 0
WATER
| Measured in : | m3 | [12 empty] | 0
|  | $ (excl GST) | [12 empty] | 0
|  | Heat Recovery | Pool 5 FEB: Energy per area
|  | Run Around Coil | m2 AUG: Unknown; Pool 5 FEB: Site Area; Pool 5 MAY: Data input required; Pool 5 JUN: kWh/m^2
|  | Heat Exchanger | m2 AUG: Unknown; Pool 5 FEB: Enclosed Building Area; Pool 5 MAY: Data input required; Pool 5 JUN: kWh/m^2
|  | Heating Wheel | m2 AUG: Unknown; Pool 5 FEB: Pool Surface Area; Pool 5 MAY: Data input required; Pool 5 JUN: kWh/m^2
|  |  |  | Submits and saves your information, data stays |  |  | Clears your data for the year so that you can enter the next year of data
Inputs Visual Representation
| Monthly Operational Costs |  | Pool 5 JAN: Monthly Operational Consumption
Submit
Clear annual data

## Predicted Energy Breakdown
0 kWh
0 kWh
0 kWh
0 kWh
0 kWh
0 kWh
0 kWh
0 kWh
0 kWh
|  | 0 kWh |  | 0 kWh
0 kWh
|  | 0 kWh |  | 0 kWh
0 kWh
0 kWh
/ FOH
Estimated Indoor Pools Energy Breakdown
Estimated Outdoor Pools Energy Breakdown

## Electrification Comparison
SUMMARY OF ELECTRIFICATION OF SITE
| Annual Energy Savings |  |  |  | 0 |  | kWh
| Annual Carbon Emission Savings |  |  |  | 0 tCO2e
| Annual Operational Saving |  |  |  |  | #DIV/0!
Annual Energy Consumption |  |  |  | Annual Energy Breakdown
Annual Carbon Emissions |  |  |  | Annual Operational Cost
0 kWh
0 kWh
0 kWh
0 kWh
0 kWh
0 kWh
0 kWh
0 kWh
0 kWh
0 kWh
Estimated Indoor Pools Electrification Energy Breakdown
Estimated Outdoor Pools Electrification Energy Breakdown
Existing
Post electrification
Consumed Electricity
Consumed Electricity

## Decarb graph data (hidden)
Energy | Existing | Post electrification | Outdoor Pool After Decarb
Gas | 0 | 0 | 0
Electricity | 0 | 0 | 0
Carbon Emissions | Existing | Post electrification | Outdoor Pool After Decarb | Based on 2024 emission factors
Gas | 0 | 0 | 0 | LPG | 2.97 | kg | LPG conversion
Electricity | 0 | 0 | 0 | Natural Gas | 0.195 | kWh | 0.078125
| 0 | 0 |  | Electricity | 0.0729 | kWh
Cost | Existing | Post electrification |  | LPG | 0.23203 | kWh
Gas | #DIV/0! | #DIV/0!
Electricity | #DIV/0! | #DIV/0!
| #DIV/0! | #DIV/0!

## Sankey Info (hidden)
Main Gas | 0 kWh | 0 | Split |  | Split from Main |  | Outdoor Pools Split
DHW Gas | 0 kWh | 0 | Main | 95% | Pool Heating | 30% | Raw Outdoor Pool Heating | 0 | 0 kWh
Electricity | 0 kWh | 0 | DHW | 5% | Pool Hall Ventilation | 60% | Raw DHW | 0 | 0 kWh
Main Boiler Losses | 0 kWh | 0 | Boiler Efficiency | 85% | Everything else | 10% | Main Boiler Losses | 0 | 0 kWh
DHW Boiler Losses | 0 kWh | 0 | Boiler Losses | 15% |  |  | Electricity | 0 | 0 kWh
DHW | 0 kWh | 0 |  |  |  |  | DHW Boiler Losses | 0 | 0 kWh
Pool Heating | 0 kWh | 0 | Unit | kWh |  |  | Bought DHW | 0 | 0 kWh
Pool Hall Ventilation | 0 kWh | 0 | COP | 2.5 |  |  | Bought Pool Heating | 0 | 0 kWh
Changing Rooms Ventilation | 0 kWh | 0 |  |  |  |  | Boiler | 0 | 0 kWh
0 kWh
Decarb | [6 empty] | Decarb |  | 0 kWh
Electricity going to HP | 0 | 0 kWh | [6 empty] | 0 kWh
General Electricity | 0 | 0 kWh |  |  |  |  | Outdoor Pool Heating | 0 | 0 kWh
DHW | 0 | 0 kWh |  |  |  |  | DHW | 0 | 0 kWh
Pool Heating | 0 | 0 kWh |  |  |  |  | General Electricity | 0 | 0 kWh
Pool Hall Ventilation | 0 | 0 kWh | [6 empty] | 0 kWh
Changing Rooms Ventilation | 0 | 0 kWh |  |  |  |  | 0 |  | 0 kWh
0 kWh
| 0 | [7 empty] | 0 kWh
| 0 | [5 empty] | Heat Pump | 0 | 0 kWh

## Options (hidden)
North Island (LPG) | Unknown | MJ | kL | Indoor | Cold | 25m | 2018/19
South Island (Natural Gas) | Yes | m3 | m3 | Outdoor | 25 | 33m | 2019/20
| No | kWh |  |  | 26 | 50m | 2020/21
| Partial |  |  |  | 27 | Leisure | 2021/22
[5 empty] | 28 | LTS | 2022/23
[5 empty] | 29 | Spa | 2023/24
[5 empty] | 30 | Toddler's | 2024/25
[5 empty] | 31 | Diving | 2025/26
[5 empty] | 32 | Hydroslide Landing | 2026/27
[5 empty] | 33 | Splash Pad | 2027/28
[5 empty] | 34 | Hydrotherapy | 2028/29
[5 empty] | 35 | Warm Water | 2029/30
[5 empty] | 36 |  | 2030/31
[5 empty] | 37 |  | 2031/32
[5 empty] | 38 |  | 2032/33
[5 empty] | 39 |  | 2033/34
[5 empty] | 40 |  | 2034/35
[5 empty] | N/A |  | 2035/36